## -
Code | Name
DIN 19528:2009 01 | Leaching of solid materials - Percolation method for the joint examination of the leaching behaviour of inorganic and organic substances
DIN 38405-24: 1987 05
DIN 38405-26: 1989 04
DIN 38407-39: 2011 09
DIN 38409-1: 1987 01
DIN 38414-20: 1996 01
DIN 53804-1:2003 06 | Statistical evaluation - Part 1: Continuous characteristics, DIN 53804-1:2002 04 with Corrigenda DIN 53804-1 Berichtigung 1:2003 06
DIN EN 13346: 2001 04
ISO 10359-1: 1992 12 01 | Water quality -- Determination of fluoride Electrochemical probe method for potable and lightly polluted water. [Nicht explizit in der DVO angegeben]
ISO 11083: 1994 08 15 | Water quality -- Determination of chromium(VI) -- Spectrometric method using 1,5-diphenylcarbazide. [Nicht explizit in der DVO angegeben]
ISO 22743: 2006 04 15 | Water quality -- Determination of sulfates -- Method by continuous flow analysis (CFA). [Nicht explizit in der DVO angegeben]
ISO 6439: 1990 05 15 | Water quality - Determination of phenol index - 4-Aminoantipyrinespectrometric methods after distillation. [Nicht explizit in der DVO angegeben]
ISO 6703-2: 1984 08 01 | Water quality -- Determination of cyanide Determination of easily liberatable cyanide. [Nicht explizit in der DVO angegeben]
ISO 9297: 1989 11 15 | Water quality - Determination of chloride - Silver nitrate titration with chromate indicator (Mohr's method). [Nicht explizit in der DVO angegeben]
ÖNORM CEN/TS 14405:2004 08 01 | Characterization of waste - Leaching behaviour tests - Up-flow percolation test (under specified conditions)
ÖNORM CEN/TS 14429:2006 01 01 | Characterization of waste - Leaching behaviour tests - Influence of pH on leaching with initial acid/base addition
ÖNORM CEN/TS 14997:2007 04 01 | Characterization of waste - Leaching behaviour tests - Influence of pH on leaching with continuous pH-control
ÖNORM CEN/TS 15364:2006 06 01 | Characterization of waste - Leaching behaviour tests - Acid and base neutralization capacity test
ÖNORM EN 12457-4:2003 01 01 | Characterisation of waste - Leaching - Compliance test for leaching of granular waste materials and sludges - Part 4: One stage batch test at a liquid to solid ratio of 10 l/kg for materials with particle size below 10 mm (without or with size reduction)
ÖNORM EN 12879:2000 12 01 | Characterization of sludges - Determination of the loss on ignition of dry mass
ÖNORM EN 13137:2001 12 01 | Characterization of waste - Determination of total organic carbon (TOC) in waste, sludges and sediments
ÖNORM EN 13657:2002 12 01 | Characterization of waste - Digestion for subsequent determination of aqua regia soluble portion of elements
ÖNORM EN 14039:2005 01 01 | Characterization of waste - Determination of hydrocarbon content in the range of C10 to C40 by gas chromatography
ÖNORM EN 14345:2004 12 01 | Characterization of waste - Determination of hydrocarbon content by gravimetry
ÖNORM EN 14346:2007 03 01 | Characterization of waste - Calculation of dry matter by determination of dry residue or water content
ÖNORM EN 1484: 1997 08 01
ÖNORM EN 15002:2006 04 01 | Characterization of waste - Preparation of test portions from the laboratory sample
ÖNORM EN 15216: 2008 01 01
ÖNORM EN 16023:2012 03 01 | Characterization of waste - Determination of gross calorific value and calculation of net calorific value
ÖNORM EN 16192:2012 02 01 | Characterization of waste - Analysis of eluates
ÖNORM EN 26777: 1993 05 01
ÖNORM EN 27888: 1993 12 01
ÖNORM EN 903:1994 03 01 | Water qualitys - Determination of anionic surfactants by measurement of the methylene blue index MBAS (ISO 7875-1:1984 modified)
ÖNORM EN ISO 10304-1: 2012 06 01
ÖNORM EN ISO 10304-3: 1998 05 01
ÖNORM EN ISO 10523: 2012 04 15
ÖNORM EN ISO 11732: 2005 06 01
ÖNORM EN ISO 11885: 2009 11 01
ÖNORM EN ISO 11969: 1997 01 01
ÖNORM EN ISO 12846: 2012 07 01
ÖNORM EN ISO 13395: 1997 01 01
ÖNORM EN ISO 14402: 2000 06 01
ÖNORM EN ISO 14403-1: 2012 10 15
ÖNORM EN ISO 14403-2: 2012 10 15
ÖNORM EN ISO 14911: 1999 11 01
ÖNORM EN ISO 15586: 2004 02 01
ÖNORM EN ISO 15682: 2002 01 01
ÖNORM EN ISO 16265:2012 04 15 | Water quality - Determination of the methylene blue active substances (MBAS) index - Method using continuous flow analysis (CFA) (ISO 16265:2009)
ÖNORM EN ISO 17294-1: 2007 01 01
ÖNORM EN ISO 17294-2: 2005 02 01
ÖNORM EN ISO 17852: 2008 03 01
ÖNORM EN ISO 22155:2013 04 15 | Soil quality - Gas chromatographic determination of volatile aromatic and halogenated hydrocarbons and selected ethers - Static headspace method (ISO 22155:2011)
ÖNORM EN ISO 23913: 2009 11 01
ÖNORM EN ISO 7027:2000 05 01 | Water quality - Determination of turbidity (ISO 7027:1999)
ÖNORM EN ISO 9377-2:2001 06 01 | Water quality - Determination of hydrocarbon oil index - Part 2: Method using solvent extraction and gas chromatography (ISO 9377-2:2000)
ÖNORM ISO 7150-1: 1987 12 01
ÖNORM ISO 8288: 1988 01 01
ÖNORM L 1200:2003 01 01 | Determination of polycyclic aromatic hydrocarbons (PAH) in soils, sewage sludges and composts
ÖNORM M 6286: 1988 09 01
ÖNORM M 6614:2001 06 01 | Water analysis - Determination of extractable organic bound halogens (EOX)
ÖNORM S 2027-2:2012 06 01 | Evaluation of waste from mechanical-biological treatment - Part 2: Stability parameters - Gas generation by incubation test (GS21)
ÖNORM S 2027-3:2012 06 01 | Evaluation of waste from mechanical-biological treatment - Part 3: Stability parameters - Gas generation by fermentation test (GB21)
ÖNORM S 2027-4:2012 06 01 | Evaluation of waste from mechanical-biological treatment - Part 4: Stability parameters - Respiration activity (AT4)
ÖNORM S 2116-1:2010 01 01 | Examination of stabilised wastes - Part 1: Preparation of samples
ÖNORM S 2116-2:2010 01 01 | Examination of stabilised wastes - Part 2: Storage in water
ÖNORM S 2116-3:2010 01 01 | Examination of stabilised wastes - Part 3: Rapid carbonizing
ÖNORM S 2116-4:2001 01 01 | Examinations of solidified wastes - Elution tests during 24 hours, 64 days, 2 days
ÖNORM S 2116-5:2001 01 01 | Examinations of solidified wastes -Determination of availability
ÖNORM S 2116-6:2010 01 01 | Examination of stabilised wastes - Part 6: Accelerated ageing
ÖNORM S 2116-7:2010 01 01 | Examination of stabilised wastes - Part 7: Freeze-Thaw Resistance
ÖNORM S 2124: 2006 07 01